## Slide 1: Smart tiltmeter using image sensors Graduate: Denisa-Ionela PETRARU Coordinator: Septimiu-Sever POP

## Slide 2: Measurement objectives
Increased precision
Immunity to environmental noise
Ease of use

## Slide 3: How?

## Slide 4: Measurement objectives
Increased precision
Filtering methods
Immunity to environmental noise
Sensor choice
Ease of use
Graphical user interface

## Slide 5: Proposed measurement method

## Slide 6: Pendulum tiltmeter

## Slide 7: Optical method

## Slide 8: Embedded system

## Slide 9: Implementation steps
Circuit design
- μC
- ADC
- USB
PCB design
- μC
- Sensors
- ADC
- USB
μC programming
- Signal generation
- Timer
- Comparator
- USART
Data handling
- Acquisition
- Filtering
- Displaying

## Slide 10: Circuit design

## Slide 11: Microcontroller schematic – ATmega1284
Microcontroller programming
Reception/Transmission
Sensor pins
ADC pins

## Slide 12: ADC block – MAX1193
Single ended input connections
Unbuffered external reference
External clock
Output data bits
Output channel indicator

## Slide 13: USB-USART conversion RS232BL
USB port
Protection elements
USBDP
&
USBDM
RX
&
TX

## Slide 14: PCB design

## Slide 15: Microcontroller
Microcontroller programming pins
Oscillator details

## Slide 16: Sensor integration
Test point vias
100Ω resistances
Ground plane cutouts

## Slide 17: ADC
Oscillator guarding
Thermal vias

## Slide 18: USB block
Ground vias
Indicator LEDs

## Slide 19: Final results

## Slide 20: Microcontroller programming

## Slide 21: Signal generation
CLK and SI toggling
Levels generated by nop

## Slide 22: Timer
Reading at a fixed time interval
CTC mode initialization
Frequency set

## Slide 23: Comparator
Internal ADC – OFF
Positive input: bandgap internal voltage 1V1
Negative input: ADC multiplexer

## Slide 24: USART communication
Baud rate set – UBBR
Reception interrupt

## Slide 25: Data processing

## Slide 26: Signal acquisition
Edge effect noise

## Slide 27: Filtering
Original signal
Filtered signals

## Slide 28: Graphical user interface
Iteration number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Position value [mm] | 20.3517 | 20.3517 | 20.3517 | 20.2882 | 20.3517 | 20.3517 | 20.3517 | 20.4152

## Slide 29: Conclusions
Fully functional model
Wide palette of technologies
The beginning of a greater purpose

## Slide 30: Future improvements
Better communication between the ADC and μC
Live updates and measurements
Alerts
Wireless connection

## Slide 31: Thank you for your attention!